CG-LKK26

Technical datasheet: Graphite Sensor

General features

- Low power consumption

- Easy to use

- Low cost

- Small size

- Flexible

- Bluetooth connection

Environmentally friendly

Description

The CG-LKK26 is a flexible, low-cost gauge sensor made from graphite nanoparticles deposited using a standard pencil on paper. This sensor is designed to measure mechanical deformations such as bending and stretching.

The sensing element is created by drawing a U-shaped conductive pattern on a paper substrate, which enables the measurement of resistance variations induced by mechanical strain.

Pin Description and dimensions

| Number of pins | Connection |
| --- | --- |
| 1 | Connected to the circuit power supply +VCC = 5V |
| 2 | Connected to the conditioning circuit input |

Lin CW, Zhao Z, Kim J, Huang J. Pencil drawn strain gauges and chemiresistors on paper. Sci Rep. 2014 Jan 22; 4:3812. doi: 10.1038/srep03812. PMID: 24448478; PMCID: PMC3898045

Specifications

| Parameter | Value |
| --- | --- |
| Sensor type | Passive graphite strain gauge sensor |
| Measurand | Resistance |
| Output Signal Type | Analog |
| Power Supply | 5V |
| Typical Response Time | < 100 ms |
| Substrate Material | - Cellulosic plant fibers (paper) - Pencil led (C, O, Mg, Al, Si) |
| Graphite Composition | Graphite nanoparticles deposited using a graphite pencil (HB,2B,4B,6B) |
| Paper Thickness | ~0.2 mm |
| Mounting | Through hole fixed |

Standard use condition

| Condition | Typical value | Unit |
| --- | --- | --- |
| Temperature | 20±5 | °C |
| Humidity | 60±5 | % |

Electrical characteristics

The resistance value of this sensor depends on the thickness of graphite layer and the type of pencil we used to create the sensor. The softer the pencil lead, the smaller the resistance since it contains more graphite particles than the hard pencil leads.

| Pencil type | Unit | Measured R range | Typical R0 rang |
| --- | --- | --- | --- |
| HB | GΩ | 5.4 – 11 | 5.0 – 6.0 |
| 2B | GΩ | 4.2 – 8.1 | 4.1 – 4.8 |
| 4B | MΩ | 80.0 – 81 | 79.5 – 80.5 |
| 6B | MΩ | 80.0 – 80.8 | 79.5 – 80.5 |

Test bench

We use a 3D model consisting of circular slots with different rayon R. By inserting the sensor into the slots, deformation is created depending on the orientation of the sensor (tension or compression). The deformation is inversely proportional to the radius of the circular slots, as follows:

ε=σE=eR=0.2 mmR

Characteristic graphs

The graphs above show the relative change in the sensor's value corresponding to deformation in two modes: tension and compression. Linear regression lines passing through the origin have been drawn. These theoretical lines demonstrate that the ΔR/R₀ value changes linearly with deformation.

Typical Applications

A typical application of the sensor is illustrated by an analog circuit using a transimpedance amplifier to convert the input current into a corresponding voltage output.

The circuit includes three filtering stages:

- At the input, a passive low-pass filter composed of R1 and C1, with a cutoff frequency of 16 Hz (f1=12πR1C1=16 Hz), is used to filter current noise from the input signal.

- An active low-pass filter composed of R3 and C4, with a cutoff frequency of 1.6 Hz (f2=12πR3C4=1.6 Hz), is used to filter out the 50 Hz noise component resulting from coupling with the electrical mains.

- At the output, a final filter composed of R6 and C2, with a cutoff frequency of 1.6 kHz (f3=12πR6C2=1.6 kHz), is used to remove noise generated during processing, such as power supply and clock noise. The resistor R5 is placed upstream of the operational amplifier to protect it against electrostatic discharge. For our simulation, we included the capacitor C3 to filter power supply noise. Finally, the resistor R2 is replaced by a variable resistor (a digital potentiometer), allowing us to adjust the gain of the operational amplifier according to our needs.

Materials used:

R1 = R3 = 100 kΩ, R5 = 10 kΩ, R6 = 1 kΩ, C1 = C2 = 100 nF, C4 = 1 µF, LTC1050

The resistance obtained from graphite sensor depends on the potentiometer's resistance:

Rgs=1+R3Rpot×R1×VCCVADC-R1-R5

Simulation électronique du capteur

Fonctionnalité de condition nominale :

Le courant d’entrée Isens varie entre 50 nA et 100 nA, ce qui entraîne une variation de la tension Vep appliquée à l’entrée non-inverseur V+ du LTC1050, entre 5 mV et 10 mV.

Le gain de l’amplificateur du LTC1050 est défini par : G = 1 + R3/R2 = 101.

Par conséquent, la valeur de la tension de sortie du LTC1050 est variée entre 0.5 V et 1 V.

Au départ, le signal exprimé en décibels est de 140 dB, ce qui correspond à 20log (VADC/Isens).

Le microcontrôleur utilisé est un Arduino UNO, basé sur un microcontrôleur AVR avec une fréquence d’échantillonnage maximale​ fech de 200 kHz. Comme la conversion analogique-numérique se fait sur 13 bits, la fréquence d’échantillonnage réelle est limitée à 15.4 kHz.

D'après le théorème de Nyquist, la fréquence maximale du signal que l'on peut correctement numériser doit donc être inférieure à la moitié de cette valeur : fsignal < fech/2 = 7.7 kHz.